## Sheet1
<ID> | Product name | Actuator size | Actuator size [in] | Actuator system [mm] | Coil | Coil connection | Connection size [in] | Connection size [mm] | Connection type | Cv value [gal/min] | Cv value invert flow [gal/min] | Direction | Electrical connection | Enclosure rating IP | Frequency [Hz] | Function | Kv value [m³/h] | Kv value invert flow [m³/h] | Manual operation option | Max. Working Pressure [bar] | Max. Working Pressure [psig] | Media recommendations | Orifice size [mm] | Orifice size fraction [in] | Parts Program name | Power consumption [W] | Power consumption [W] 50Hz | Power consumption [W] 60Hz | Power consumption [W] DC | Refrigerants | Supply voltage [V] AC | Supply voltage [V] AC [max] | Supply voltage [V] AC [min] | Supply voltage [V] DC
MDF-A03-22H 001 / 10125011802 | Solenoid valve |  |  |  | No |  |  | 22 | Flare | [7 empty] | 5,9
MDF-A03-22H 011 / 10125000302 | Solenoid valve |  |  |  | No |  |  | 28 | Flare | [7 empty] | 5,9
MDF-A03-22H 003 / 10125005102 | Solenoid valve |  |  |  | No |  |  | 35 | Flare | [7 empty] | 5,9
MDF-A03-22H 009 / 10125006202 | Solenoid valve |  |  |  | No |  | 9/8 |  | Flare | [7 empty] | 5,9
MDF-A03-22H 003 / 10125005102 | Solenoid valve |  |  |  | No |  | 11/8 |  | Flare | [7 empty] | 5,9
MDF-A03-22H 001 / 10125011802 | Solenoid valve |  |  |  | No |  | 7/8 |  | Flare | [7 empty] | 5,9
MDF-A03-22H 001 / 10125011802 | Solenoid valve |  |  |  | No |  |  | 22 | Solder, ODF | [7 empty] | 5,9
MDF-A03-22H 011 / 10125000302 | Solenoid valve |  |  |  | No |  |  | 28 | Solder, ODF | [7 empty] | 5,9
MDF-A03-22H 003 / 10125005102 | Solenoid valve |  |  |  | No |  |  | 35 | Solder, ODF | [7 empty] | 5,9
MDF-A03-22H 003 / 10125005102 | Solenoid valve |  |  |  | No |  | 11/8 |  | Solder, ODF | [7 empty] | 5,9
MDF-A03-22H 001 / 10125011802 | Solenoid valve |  |  |  | No |  | 7/8 |  | Solder, ODF | [7 empty] | 5,9
MDF-A03-22H 009 / 10125006202 | Solenoid valve |  |  |  | No |  | 9/8 |  | Solder, ODF | [7 empty] | 5,9
MDF-A03-15H 051 / MDFX0002102 | Solenoid valve |  |  |  | No |  |  | 16 | Flare | [7 empty] | 3,3
MDF-A03-15H 052 / MDFX0002202 | Solenoid valve |  |  |  | No |  |  | 22 | Flare | [7 empty] | 3,3
MDF-A03-15H 051 / MDFX0002102 | Solenoid valve |  |  |  | No |  | 5/8 |  | Flare | [7 empty] | 3,3
MDF-A03-15H 052 / MDFX0002202 | Solenoid valve |  |  |  | No |  | 7/8 |  | Flare | [7 empty] | 3,3
MDF-A03-15H 051 / MDFX0002102 | Solenoid valve |  |  |  | No |  |  | 16 | Solder, ODF | [7 empty] | 3,3
MDF-A03-15H 052 / MDFX0002202 | Solenoid valve |  |  |  | No |  |  | 22 | Solder, ODF | [7 empty] | 3,3
MDF-A03-15H 051 / MDFX0002102 | Solenoid valve |  |  |  | No |  | 5/8 |  | Solder, ODF | [7 empty] | 3,3
MDF-A03-15H 052 / MDFX0002202 | Solenoid valve |  |  |  | No |  | 7/8 |  | Solder, ODF | [7 empty] | 3,3
MDF-A03-15H 005 / 10125003702 | Solenoid valve |  |  |  | No |  |  | 16 | Flare | [7 empty] | 2,3
MDF-A03-15H 003 / 10125005002 | Solenoid valve |  |  |  | No |  |  | 22 | Flare | [7 empty] | 2,3
MDF-A03-15L 001 / 10125009502 | Solenoid valve |  |  |  | No |  | 5/8 |  | Flare | [7 empty] | 2,3
MDF-D03-15L 001 / 10125019302 | Solenoid valve |  |  |  | No |  | 5/8 |  | Flare | [7 empty] | 2,3
MDF-A03-15H 005 / 10125003702 | Solenoid valve |  |  |  | No |  | 5/8 |  | Flare | [7 empty] | 2,3
MDF-A03-15L 003 / 10125004802 | Solenoid valve |  |  |  | No |  | 7/8 |  | Flare | [7 empty] | 2,3
MDF-D03-15L 003 / 10125019502 | Solenoid valve |  |  |  | No |  | 7/8 |  | Flare | [7 empty] | 2,3
MDF-A03-15H 003 / 10125005002 | Solenoid valve |  |  |  | No |  | 7/8 |  | Flare | [7 empty] | 2,3
MDF-A03-15H 005 / 10125003702 | Solenoid valve |  |  |  | No |  |  | 16 | Solder, ODF | [7 empty] | 2,3
MDF-D03-15H 005 / 10125017102 | Solenoid valve |  |  |  | No |  |  | 16 | Solder, ODF | [7 empty] | 2,3
MDF-A03-15H 003 / 10125005002 | Solenoid valve |  |  |  | No |  |  | 22 | Solder, ODF | [7 empty] | 2,3
MDF-D03-15H 003 / 10125019002 | Solenoid valve |  |  |  | No |  |  | 22 | Solder, ODF | [7 empty] | 2,3
MDF-A03-15H 005 / 10125003702 | Solenoid valve |  |  |  | No |  | 5/8 |  | Solder, ODF | [7 empty] | 2,3
MDF-D03-15H 005 / 10125017102 | Solenoid valve |  |  |  | No |  | 5/8 |  | Solder, ODF | [7 empty] | 2,3
MDF-A03-15H 003 / 10125005002 | Solenoid valve |  |  |  | No |  | 7/8 |  | Solder, ODF | [7 empty] | 2,3
MDF-D03-15H 003 / 10125019002 | Solenoid valve |  |  |  | No |  | 7/8 |  | Solder, ODF | [7 empty] | 2,3
MDF-A03-10H 005 / 10125003502 | Solenoid valve |  |  |  | No |  |  | 12 | Flare | [7 empty] | 1,9
MDF-A03-10H 003 / 10125006302 | Solenoid valve |  |  |  | No |  |  | 16 | Flare | [7 empty] | 1,9
MDF-A03-10L 003 / 10125005402 | Solenoid valve |  |  |  | No |  | 1/2 |  | Flare | [7 empty] | 1,9
MDF-D03-10L 003 / 10125018902 | Solenoid valve |  |  |  | No |  | 1/2 |  | Flare | [7 empty] | 1,9
MDF-A03-10H 001 / 10125011502 | Solenoid valve |  |  |  | No |  | 1/2 |  | Flare | [7 empty] | 1,9
MDF-A03-10L 001 / 10125009402 | Solenoid valve |  |  |  | No |  | 5/8 |  | Flare | [7 empty] | 1,9
MDF-D03-10L 001 / 10125018702 | Solenoid valve |  |  |  | No |  | 5/8 |  | Flare | [7 empty] | 1,9
MDF-A03-10H 003 / 10125006302 | Solenoid valve |  |  |  | No |  | 5/8 |  | Flare | [7 empty] | 1,9
MDF-A03-10H 005 / 10125003502 | Solenoid valve |  |  |  | No |  |  | 12 | Solder, ODF | [7 empty] | 1,9
MDF-D03-10H 005 / 10125017002 | Solenoid valve |  |  |  | No |  |  | 12 | Solder, ODF | [7 empty] | 1,9
MDF-A03-10H 003 / 10125006302 | Solenoid valve |  |  |  | No |  |  | 16 | Solder, ODF | [7 empty] | 1,9
MDF-D03-10H 003 / 10125018402 | Solenoid valve |  |  |  | No |  |  | 16 | Solder, ODF | [7 empty] | 1,9
MDF-A03-10H 001 / 10125011502 | Solenoid valve |  |  |  | No |  | 1/2 |  | Solder, ODF | [7 empty] | 1,9
MDF-D03-10H 001 / 10125017202 | Solenoid valve |  |  |  | No |  | 1/2 |  | Solder, ODF | [7 empty] | 1,9
MDF-A03-10H 003 / 10125006302 | Solenoid valve |  |  |  | No |  | 5/8 |  | Solder, ODF | [7 empty] | 1,9
MDF-D03-10H 003 / 10125018402 | Solenoid valve |  |  |  | No |  | 5/8 |  | Solder, ODF | [7 empty] | 1,9
MDF-A03-6H 005 / 10125004102 | Solenoid valve |  |  |  | No |  |  | 10 | Flare | [7 empty] | 0,8
MDF-A03-6H 007 / 10125006702 | Solenoid valve |  |  |  | No |  |  | 12 | Flare | [7 empty] | 0,8
MDF-A03-6L 003 / 10125004502 | Solenoid valve |  |  |  | No |  | 1/2 |  | Flare | [7 empty] | 0,8
MDF-D03-6L 003 / 10125017802 | Solenoid valve |  |  |  | No |  | 1/2 |  | Flare | [7 empty] | 0,8
MDF-A03-6H 003 / 10125004202 | Solenoid valve |  |  |  | No |  | 1/2 |  | Flare | [7 empty] | 0,8
MDF-A03-3L 001 / 10125009302 | Solenoid valve |  |  |  | No |  | 3/8 |  | Flare | [7 empty] | 0,8
MDF-D03-6L 005 / 10125018002 | Solenoid valve |  |  |  | No |  | 3/8 |  | Flare | [7 empty] | 0,8
MDF-A03-6H 001 / 10125011402 | Solenoid valve |  |  |  | No |  | 3/8 |  | Flare | [7 empty] | 0,8
MDF-A03-6H 005 / 10125004102 | Solenoid valve |  |  |  | No |  |  | 10 | Solder, ODF | [7 empty] | 0,8
MDF-D03-6H 005 / 10125016802 | Solenoid valve |  |  |  | No |  |  | 10 | Solder, ODF | [7 empty] | 0,8
MDF-A03-6H 007 / 10125006702 | Solenoid valve |  |  |  | No |  |  | 12 | Solder, ODF | [7 empty] | 0,8
MDF-D03-6H 007 / 10125018202 | Solenoid valve |  |  |  | No |  |  | 12 | Solder, ODF | [7 empty] | 0,8
MDF-A03-6H 003 / 10125004202 | Solenoid valve |  |  |  | No |  | 1/2 |  | Solder, ODF | [7 empty] | 0,8
MDF-D03-6H 003 / 10125017502 | Solenoid valve |  |  |  | No |  | 1/2 |  | Solder, ODF | [7 empty] | 0,8
MDF-A03-6H 001 / 10125011402 | Solenoid valve |  |  |  | No |  | 3/8 |  | Solder, ODF | [7 empty] | 0,8
MDF-D03-6H 001 / 10125017402 | Solenoid valve |  |  |  | No |  | 3/8 |  | Solder, ODF | [7 empty] | 0,8
MDF-A03-3H 005 / 10125003802 | Solenoid valve |  |  |  | No |  |  | 6 | Flare | [7 empty] | 0,23
MDF-A03-3H 007 / 10125003402 | Solenoid valve |  |  |  | No |  |  | 10 | Flare | [7 empty] | 0,23
MDF-A03-3L 001 / 10125009202 | Solenoid valve |  |  |  | No |  | 1/4 |  | Flare | [7 empty] | 0,23
MDF-A03-3H 001 / 10125011302 | Solenoid valve |  |  |  | No |  | 1/4 |  | Flare | [7 empty] | 0,23
MDF-A03-3L 003 / 10125004402 | Solenoid valve |  |  |  | No |  | 3/8 |  | Flare | [7 empty] | 0,23
MDF-A03-3H 003 / 10125003602 | Solenoid valve |  |  |  | No |  | 3/8 |  | Flare | [7 empty] | 0,23
MDF-A03-3H 005 / 10125003802 | Solenoid valve |  |  |  | No |  |  | 6 | Solder, ODF | [7 empty] | 0,23
MDF-A03-3H 007 / 10125003402 | Solenoid valve |  |  |  | No |  |  | 10 | Solder, ODF | [7 empty] | 0,23
MDF-A03-3H 001 / 10125011302 | Solenoid valve |  |  |  | No |  | 1/4 |  | Solder, ODF | [7 empty] | 0,23
MDF-A03-3H 003 / 10125003602 | Solenoid valve |  |  |  | No |  | 3/8 |  | Solder, ODF | [7 empty] | 0,23
MDF-A03-2H 003 / 10125006502 | Solenoid valve |  |  |  | No |  |  | 6 | Flare | [7 empty] | 0,16
MDF-A03-2L 001 / 10125000102 | Solenoid valve |  |  |  | No |  | 1/4 |  | Flare | [7 empty] | 0,16
MDF-A03-2H 001 / 10125011202 | Solenoid valve |  |  |  | No |  | 1/4 |  | Flare | [7 empty] | 0,16
MDF-A03-2H 005 / 10125006502 | Solenoid valve |  |  |  | No |  |  | 6 | Solder, ODF | [7 empty] | 0,16
MDF-A03-2H 001 / 10125011202 | Solenoid valve |  |  |  | No |  | 1/4 |  | Solder, ODF | [7 empty] | 0,16
MDF-B03-40H 003 / 10125007602 | Solenoid valve |  |  |  | No |  |  | 42 | Flare | [7 empty] | 25
MDF-B03-40H 004 / 10125007702 | Solenoid valve |  |  |  | No |  |  | 54 | Flare | [7 empty] | 25
MDF-B03-40H 002 / 10125004302 | Solenoid valve |  |  |  | No |  | 13/8 |  | Flare | [7 empty] | 25
MDF-B03-40H 004 / 10125007702 | Solenoid valve |  |  |  | No |  | 17/8 |  | Flare | [7 empty] | 25
MDF-B03-40H 003 / 10125007602 | Solenoid valve |  |  |  | No |  |  | 42 | Solder, ODF | [7 empty] | 25
MDF-B03-40H 004 / 10125007702 | Solenoid valve |  |  |  | No |  |  | 54 | Solder, ODF | [7 empty] | 25
MDF-B03-40H 002 / 10125004302 | Solenoid valve |  |  |  | No |  | 13/8 |  | Solder, ODF | [7 empty] | 25
MDF-B03-40H 004 / 10125007702 | Solenoid valve |  |  |  | No |  | 17/8 |  | Solder, ODF | [7 empty] | 25
MDF-B03-32H 001 / 10125009102 | Solenoid valve |  |  |  | No |  |  | 35 | Flare | [7 empty] | 15
MDF-B03-32H 003 / 10125007102 | Solenoid valve |  |  |  | No |  |  | 42 | Flare | [7 empty] | 15
MDF-B03-32H 001 / 10125009102 | Solenoid valve |  |  |  | No |  | 11/8 |  | Flare | [7 empty] | 15
MDF-B03-32H 002 / 10125007502 | Solenoid valve |  |  |  | No |  | 13/8 |  | Flare | [7 empty] | 15
MDF-B03-32H 001 / 10125009102 | Solenoid valve |  |  |  | No |  |  | 35 | Solder, ODF | [7 empty] | 15
MDF-B03-32H 003 / 10125007102 | Solenoid valve |  |  |  | No |  |  | 42 | Solder, ODF | [7 empty] | 15
MDF-B03-32H 001 / 10125009102 | Solenoid valve |  |  |  | No |  | 11/8 |  | Solder, ODF | [7 empty] | 15
MDF-B03-32H 002 / 10125007502 | Solenoid valve |  |  |  | No |  | 13/8 |  | Solder, ODF | [7 empty] | 15
MDF-B03-25H 005 / 10125007002 | Solenoid valve |  |  |  | No |  |  | 28 | Flare | [7 empty] | 10
MDF-B03-25H 004 / 10125006802 | Solenoid valve |  |  |  | No |  |  | 35 | Flare | [7 empty] | 10
MDF-B03-25H 003 / 10125006902 | Solenoid valve |  |  |  | No |  | 9/8 |  | Flare | [7 empty] | 10
MDF-B03-25H 004 / 10125006802 | Solenoid valve |  |  |  | No |  | 11/8 |  | Flare | [7 empty] | 10
MDF-B03-25H 005 / 10125007002 | Solenoid valve |  |  |  | No |  |  | 28 | Solder, ODF | [7 empty] | 10
MDF-B03-25H 004 / 10125006802 | Solenoid valve |  |  |  | No |  |  | 35 | Solder, ODF | [7 empty] | 10
MDF-B03-25H 004 / 10125006802 | Solenoid valve |  |  |  | No |  | 11/8 |  | Solder, ODF | [7 empty] | 10
MDF-B03-25H 003 / 10125006902 | Solenoid valve |  |  |  | No |  | 9/8 |  | Solder, ODF | [7 empty] | 10
MDF-A03-20H 001 / 10125011702 | Solenoid valve |  |  |  | No |  |  | 22 | Flare | [7 empty] | 5
MDF-A03-20H 007 / 10125005702 | Solenoid valve |  |  |  | No |  |  | 28 | Flare | [7 empty] | 5
MDF-A03-20H 003 / 10125005602 | Solenoid valve |  |  |  | No |  | 9/8 |  | Flare | [7 empty] | 5
MDF-A03-20H 001 / 10125011702 | Solenoid valve |  |  |  | No |  | 7/8 |  | Flare | [7 empty] | 5
MDF-A03-20H 001 / 10125011702 | Solenoid valve |  |  |  | No |  |  | 22 | Solder, ODF | [7 empty] | 5
MDF-A03-20H 007 / 10125005702 | Solenoid valve |  |  |  | No |  |  | 28 | Solder, ODF | [7 empty] | 5
MDF-A03-20H 001 / 10125011702 | Solenoid valve |  |  |  | No |  | 7/8 |  | Solder, ODF | [7 empty] | 5
MDF-A03-20H 003 / 10125005602 | Solenoid valve |  |  |  | No |  | 9/8 |  | Solder, ODF | [7 empty] | 5