## Sheet1
<ID> | <Object Type> | Product name | Headline | Actuator size | Actuator system [mm] | Ambient temperature | Ambient temperature range [°C] [max] | Ambient temperature range [°C] [min] | Approval | Cable length [m] | Coil | Coil connection | Coil type | Cv value [gal/min] | Cv value invert flow [gal/min] | Direction | Electrical connection | Enclosure rating IP | Frequency [Hz] | Function | Identical product | Inlet connection type | Inlet size [in] | Inlet size [mm] | Kv value [m³/h] | Kv value invert flow [m³/h] | Manual operation option | Max. Working Pressure [bar] | Max. Working Pressure [psig] | MaxOPD[bar] 10W AC | MaxOPD[bar] 12W AC | MaxOPD[bar] 14W AC | MaxOPD[bar] 20W DC | MaxOPD[bar] coil BJ/BX | MaxOPD[psi] 10W AC | MaxOPD[psi] 14W AC | MaxOPD[psi] 20W DC | MaxOPD[psi] coil BJ/BX | Medium temperature range [°C] [max] | Medium temperature range [°C] [min] | MinODP [bar] | MinODP [psi] | MOPD[bar/psi] | Outlet connection type | Outlet size [in] | Outlet size [mm] | Parts Program name | Power consumption | Power consumption 50Hz [VA] | Power consumption 60Hz [VA] | Power consumption [W] 50Hz | Power consumption [W] 60Hz | Power consumption [W] DC | Refrigerants | Supply voltage 50Hz Max [V] | Supply voltage 50Hz Min [V] | Supply voltage 60Hz Max [V] | Supply voltage 60Hz Min [V] | Supply voltage [V] AC | Supply voltage [V] AC [max] | Supply voltage [V] AC [min] | Supply voltage [V] DC
10125003602 | Solenoid Valve | MDF-A03-3H | SOLENOID VALVE MDF SERIES | 55 | -30 | [5 empty] | FQ-A05 | [7 empty] | 50/60 | NC |  | Solder, ODF | 3/8 in |  | 0.23 |  |  | 49 | [10 empty] | 105 | -30 |  |  |  | Solder, ODF | 3/8 in | [5 empty] | 5 | 4.5 |  | R290, R1234ze(E), R1234yf, R447A, R452B, R454B, R454C, R455A | 240 V